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MicroCT Disk Backup
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Create a copy of the project disk(s) to mike.kin.ucalgary.ca/Bonelab/Backups/.  This backup requires a significant amount of space, so please ask Eric Nodwell if there is sufficient space on the server before starting the backup.
Each directory is saved as a separate save set (an OpenVMS file type similar to a zip file) on mike.kin.ucalgary.ca/Bonelab/Backup/. 
	1. Check backup size and space on the server.
· $ DIR/SIZE/GRAND_TOTAL DISK3:[MICROCT.PROJECTS…]    ! backup size for UR
· $ DIR/SIZE/GRAND_TOTAL DISK4:[MICROCT.PROJECTS…]    ! backup size for UR2
· check mike.kin.ucalgary.ca for available space or ask Eric Nodwell
	[bookmark: Check1]|_|

	2. Run the disk backup script.
· $ @COM:BACKUPDISK
· provide information about the backup as prompted by the script
· run script twice to backup both projects disks (i.e., UR and UR2)
	|_|

	3. Check that the backup was successful.
· look for errors in the log file that was emailed to you
· check for files on mike.kin.ucalgary.ca/Bonelab/microct_archive/
	|_|
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