Using upat_list (Additional Notes)

“$ upat_list -nomatch” will give you results for all timepoints for a single site and sample # without matching to Baseline.  I.e. the common region will be 100% for all measurements.

“$ upat_list -h” will show you all of the available parameters (see below in orange) for generating results using upat_list.  These parameters aren’t always obvious when using upat_list with prompts.

$ upat_list -h

Program: upat_print_list V1.9

Started:  2-AUG-2018 07:13:20.90

Program: upat_print_list V1.9

Use the following modes to run upat_print_list:

upat_print_list -list  for export to spreadsheet, default mode

upat_print_list -print for PostScript output

upat_print_list -show  for text output

upat_print_list -advanced to access advanced options interactively

Standard Command-Line Arguments:

-b=<pat_nr>      First patient, default = 1

-e=<pat_nr>      Last patient

In list & show modes, default = last patient in database

In print mode, default = first patient

-s=<site_code>   Site code

In list & show modes, RL RR R* TL TR T* CU *, default = *

In print mode, RL RR TL TR CU, default = RL

-mb=<date>       Begin of measurement period, default = 1st measurement date

-me=<date>       End of measurement period, default = current date

Dates must be given in VMS format, e.g. 01-JAN-2000

-f=<#_followups> Maximum number of follow-ups to match, default = 19

-t=<file_name>   Name of template file

In list mode,  default = UPAT_LIST_SHEET

In print mode, default = UPAT_EVAL_SHEETxx

In show mode,  default = UPAT_SINGLE

-o=<file_name>   Name of output file (in SYS$SCRATCH by default)

In list & print modes, stored in SYS$SCRATCH

In show mode, written to SYS$OUTPUT

-c=<number>      Number of Print copies if in print mode. default = 1

-v=<level>       Verbosity from 0 (silent) to 2 (verbose), default = 1

-h               Print this help and exit

Advanced Command-Line Arguments:

-et=<eval_type>  Type code of evaluation, default = 2

-eb=<date>       Begin of evaluation period, default = 1st measurement date

-ee=<date>       End of evaluation period, default = current date

-tb=<date>       Begin of matching period, default = 1st measurement date

-te=<date>       End of matching period, default = current date

Dates must be given in VMS format, e.g. 01-JAN-2000

-sk=<#_to_skip>  Number of measurements to skip, default = 0

-m=<meas_list>   Numbered List of measurements to take, e.g. 0,1,2,5,8

-nomatch         Do not match follow up measurement, just take all slices

-sb                Begin of Slice Range in % to be evaluated

-se                End of Slice Range in % to be evaluated

-q               Only take evaluations with quality better than (and including) this.

If positive number: all scans of better quality (incl. this)

as well as all non-graded scans are taken.

If negative number: non-graded scans are NOT taken.

-qs              Only take Structural evaluations with quality better than (and including) this.

Thus: between -qd and -q: only Density results are printed.

Parameter is disregarded if -qs >= -q.

-ut=<unit_type>  0->default unit, 1->linatt, 2->mg HA/ccm, 3->HU, default = 0

-cd=<density>    Value of compact density to use, default = 1200.000000

From these options, you can write out your own command (vs. using prompts) to give you the specifics you are looking for.

By specifying the CAMOS template of “UPAT_EVAL_CAMOS.PS”, you will get the “Camos” report style.  For example:

$ upat_list -b=1000 -e=1000 -s=TL -mb=01-MAY-2000 -me=01-AUG-2018 -nomatch -t=DISK1:[MICROCT.COMMANDS]UPAT_EVAL_CAMOS.PS -c=0 -o=sys$scratch:upat_pat_1000_tl_camos.ps

Note that there are actually many kinds of report templates.  These can be found via:

$ dir UU:*.PS

“SCUSA” is a short form for Scanco USA templates.  I.e. templates that fit on an 8.5” X 11” page.